| THE UNITED REPUBLIC OF TANZANIA |  |
| --- | --- |
| Applicable Public Institution <<insert the name of the Institution >> | Document Name Disaster Recovery Plan |
|  | Document Number <<Insert your own document reference code>> |

| APPROVAL | Name | Job Title/ Role | Signature | Date |
| --- | --- | --- | --- | --- |
| Approved by | <<Name of AO>> | <<Title e.g. CEO>> | <<Signature>> | <<Date>> |

Table of Contents

ACRONYMS	3

1.	INTRODUCTION	4

1.1.	Overview	4

1.2.	Rationale	4

1.3.	Purpose	4

1.4.	Scope	5

2.	Disaster Preparedness and Recovery Procedures	6

2.1.	Disaster Preparedness	6

2.1.1.	Overview of ICT environment	6

2.1.2.	Summary of ICT Systems	6

2.1.3.	Business Impact Analysis	7

2.1.4.	Critical System Data Backup Strategy and Plan	8

2.1.5.	Disaster Recovery Teams, Roles and responsibilities	9

2.1.5.1.	Disaster Recovery Task Force	9

2.1.6.	Call Tree	12

2.2.	Disaster Recovery	13

2.2.1.	Activity flow in case of disaster	13

2.3.	Communication Plan	14

2.3.1.	Declaration of disaster	14

2.3.2.	Media management plan	14

2.3.3.	Important instructions	15

2.3.4.	Procedure for damage assessment and salvage	16

2.4.	Disaster Recovery Scenarios	17

2.4.1	Disaster Level I — Failure Impacting Single Department	17

2.4.2	Disaster Level II — Failure Impacting Multiple Department/Sites	18

2.4.3	Disaster Level III — Premises Unavailable / Total Service Loss	19

2.5.	Disaster Recovery Plan Testing	20

2.5.1.	DRP Testing Frequency	20

2.5.2.	Scope of Testing	20

2.5.3.	Testing Approaches	20

2.5.4.	DRP Test Documentation	21

2.5.5.	Issue Resolution	21

2.5.6.	Continuous Improvement	21

3.	IMPLEMENATION, REVIEWS AND ENFORCEMENT	21

4.	RELATED DOCUMENTS	21

5.	DOCUMENT CONTROL	21

6.	APPENDICES	23

6.1.	Contact Details of Third party Vendor	23

6.2.	Contact Details of CMT	23

6.3.	Contact Details of RT	24

6.4.	Sample Asset Removal Form	25

6.5.	Sample Damage Assessment Sheet	26

6.6.	Test Result Sample Form	27

# ACRONYMS

| BIA | Business Impact Analysis |
| --- | --- |
| CCTV | Closed Circuit Television |
| CMT | Crisis Management Team |
| DRTF | Disaster Recovery Task Force |
| GOC | Government Operation Center |
| MTPD | Maximum Tolerable Period of Disruption |
| RTO | Recovery Time Objective |
| RPO | Recovery Point Objective |
| RT | Recovery Team |

# INTRODUCTION

## Overview

<<Public Institution should provide here a high-level description of your institution, its mission, objectives and main functions>>

The aforementioned business functions are highly dependent on information technology services including networks, systems and applications for their daily business operations.

## Rationale

<<Highlight the purpose of the disaster recovery plan. An example has been provided below>>

The business functions of Public Institution are dependent on information technology services including networks, systems and applications for daily business operations. The inability of information technology services to function would immediately impact the core operations at an Institution and subsequently, the other departments, resulting in significant work backlog. This would in turn bring about inability of an Institution to respond to queries from different stakeholders, as well as failure to provide services on time.

This DRP has been developed to guide the efficient recovery of information systems supporting the Institution which is found at <<include the address of the institution>> It outlines the background, procedures, and contact information to recover critical networks, systems and applications.

Proper execution of this DRP will help facilitate the timely recovery of key information systems, minimizing business disruption. This DRP is an imperative component to the successful resumption of business functions at an Institution. This document also takes into consideration the broader perspective of business continuity, incorporating the elements from the Institution Business Impact Analysis. A Business Impact Analysis should be completed prior to drafting the disaster recovery plan.

This DRP is designed to assist in minimizing the effect of a disaster event, by ensuring the restoration of essential processing within the recovery time objectives established by the BIA.

## Purpose

<<The objectives of the DRP should be clearly laid out in this section. An example is provided below;>>

The primary objective of this DRP is to establish defined responsibilities, actions and procedures to recover the critical network, system and application environment in the event of a disaster.

The DRP is structured to attain the following key objectives:

  - Recover the physical network and critical applications within Recovery Time Objectives (RTO) and Recovery Point Objectives (RPO) established and accepted by management;

  - Ensure that necessary personnel and resources are prepared and understand their roles for recovery;

  - Provide guidance and information to help facilitate a successful recovery process from initial activation to post-recovery; and

In order for the DRP to meet the aforementioned objectives, sufficient communication, testing, and training will need to be conducted.

## Scope

This document is meant to support <<include the name of the institution >> to carry its critical business function as well as operations performed to support systems and infrastructure provided by other public institution, the following areas were taken into consideration;

- Network Infrastructure and

- Critical Application systems.

It applies to ICT assets owned or leased by an Institution or to devices that connect to the Institution network or reside at Institution. DRP does not take into consideration disasters that do not impact the ICT environment.

These rules are applicable to <<include the name of the institution >> Accounting Officer (Head of Institution), responsible teams for BCP/DRP and external service providers (suppliers, contractors, fire).

# Disaster Preparedness and Recovery Procedures

## Disaster Preparedness

## Overview of ICT environment

Public Institution should include a detailed overview of the ICT environment. The overview will include (but not limited to) the following information:

- High level ICT organization structure

- The network topology of ICT

- List of servers, network devices and applications and their purpose

- Overview of available service level agreements

- Available ICT operating procedures

## Summary of ICT Systems

The table 1 provides a summary of the different applications, respective hosting server, backup procedure and the support agreements in place to ensure service continuity.

Table 1: Summary of ICT Systems

| Application | Description | Server Name | Backup/ Redundancy | Supported By(Internal/Third Party Vendor) |
| --- | --- | --- | --- | --- |

## Business Impact Analysis

A Business Impact Analysis has been performed for the ICT applications to determine the impact of any downtime and the expected timelines for recovery. This includes Recovery Time Objective (RTO) and Recovery Point Objective (RPO).

“The RTO is the duration of time and a service level within which a business process must be restored after a disaster in order to avoid unacceptable consequences associated with a break in service continuity”.

“The RPO describes the interval of time that might pass during a disruption before the quantity of data lost during that period exceeds the maximum allowable threshold or “tolerance.””

The table 2 provides a summary of the different information system which are used intensively by the business at the Institution and their respective Recovery Time Objective (RTO) and Recovery Point Objective (RPO). <<An illustrative example has been provided in the table; If you have a Business Continuity Plan (BCP) in place, refer to the Business Impact Analysis (BIA) conducted by the business and the respective defined RTO and RPO>>

Table 2: Applications RTO and RPO

| Application | Description and Purpose | Outage Impact (High Medium, Low) | Department | RTO | RPO |
| --- | --- | --- | --- | --- | --- |
| SunSystems | Financial management Reporting (debtors, management account, local sales) Cheque printing Archiving | High - Unable to generate financial statements | Finance and accounts | 4 hours | 3 hours |

In line with the above table 2 (indicating RPO and RTO), the disaster scenarios have been listed together with their recovery procedures and strategy for information system, infrastructure and physical facility is defined in subsequent sections.

## Critical System Data Backup Strategy and Plan

Backup is an additional copy of production data, created and retained for the sole purpose of recovering lost or corrupted data. Backups are performed to serve the three purposes disaster recovery, operation recovery and archival. Backups are performed to address recovery needs. The backup copies are used for restoring data at an alternate site when the primary site is incapacity due to disaster. Based on Recovery Point Objective (RPO) and Recovery Time Objective (RTO) requirements, organizations use different data protection strategies for disaster recovery.

Backup granularity depends on business need and the required RTO/RPO. Based on the granularity, backup can be categorized as full, incremental, and cumulative (or differential).

- Full Backups: Complete data copy performed weekly.

- Incremental Backups: Captures changes since the last backup (daily/hourly).

- Differential Backups: Captures changes since last full backup.

Backup location can be local (on site) or remote (off site). The backup media type of backup target such as physical tape, disk and virtual tape is another consideration that is driven by RTO and impacts the data recovery time.

<< For the institution data backup operation, an independent copy of production data is taken on a regular basis and stored as per the 3-2-1 backup rule. On daily basis, production data is replicated to the DR site in an increment manner, similar copies are stored on network attached storage (NAS) and on a monthly basis, production data from different production systems is stored on offline site (Tape) >>

Backup retention period depends on the criticality of the information system. Table 3 summarizes the backup strategy, plan and test schedules as per specific system.

Table 3: Backup Strategy and Plan

| S/N | System Name | Primary Site Location | DR Site Location | Backup Approach/ Strategy | Backup Frequency | Backup File Location | Backup Test Schedule | DR Test Schedule |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

## Disaster Recovery Teams, Roles and responsibilities

## Disaster Recovery Task Force

In order to facilitate the efficient recovery and restoration of critical business functions, the management team from Business, Operations and key ICT staff members as well as third party service provider(s) have been assigned to Disaster Recovery Task Force (DRTF) in the Institution. Any contingency would be handled by two levels of task force:

- Crisis Management Team (CMT)

- Recovery Team (RT)

<<This section covers the detailed composition, roles, responsibilities and the action steps to be followed by each of these teams. The functions of the above teams would vary with the extent and impact of the different contingencies that could impact the operations of the different institutions. >>

The composition of DRTF is critical to successful planning and recovery of the ICT operations. It is important that the team representatives have the authority to make operational and financial decisions during a contingency.

<< The section below in this document define the different roles and responsibilities for the maintenance of the DRP>>

- Crisis Management Team

The Crisis Management Team (CMT) is the group of senior staff, which commands the resources needed to recover the operations in the event of a disaster. The roles of CMT can be assumed by Institutional ICT Steering Committee

Roles and Responsibilities of CMT

CMT Head

The CMT Head is the Accounting Officer, He/she will have overall responsibility for the response and recovery actions taken in the event of a disaster.  However, he/ she will delegate the team management responsibilities to the other members of the CMT. This will entail the delegation of decision-making power and authority to make the necessary decisions during any crisis.

The CMT Head will maintain close contact with the other members of the CMT who will advise him/ her of the progress of recovery and consult with him on significant decisions.

Key responsibilities of the CMT Head include:

- Overall responsibility for disaster declaration, response and recovery actions.

- Assist in decision making.

- Authorize crucial action steps.

- Visit next of kin of deceased staff (if any).

- Brief staff of overall situation and provide overall guidance.

- Vet sensitive communications.

- Assist in crucial negotiations (financial and legal).

- Keep the business users informed of the status of the situation.

<< Additional responsibilities based on the business functions of the institutions should be included>>

CMT Coordinator

The key to success in developing and maintaining an effective and efficient 	contingency plan is the leadership provided by the CMT Coordinator, who works 	closely with Head of departments and members of the different teams (namely CMT 	and RT).

The CMT Coordinator is the Director/Head/Manager of ICT Directorate/Unit/Section. 	He/she is responsible for providing overall guidance during the emergency response 	and recovery efforts, reviewing damage assessment reports, initiating recall 	procedures, coordinating the activities / decisions of the CMT and RT, keeping senior 	management informed about recovery operations.

Key responsibilities of the CMT Coordinator include:

- Set the DRP into motion after the CMT Head has declared a disaster

- Be the single point of Contact for and oversee all the DR Teams

- Organize, supervise and manage all DRP test and author all DRP updates

CMT Members

The CMT members are the same members of Institutional ICT Steering Committee who will manage and co-ordinate the response to, and recovery from a crisis. This role will continue through the restoration until the situation returns to normal. That is, until the ICT teams can cope with the situation without additional senior management supervision.

Responsibilities include:

- Formalizing recovery strategy and operational requirements.

- Coordinating recovery at alternate site, wherever applicable.

- Damage Assessment.

- Coordinating and project manage recovery of Facility, Operations and ICT infrastructure.

- Coordinating recovery of critical processes in different departments.

- Liaise with third party vendor for emergency / recovery support during crisis.

- Monitoring Staff Welfare.

- Funds Management including controlling expenditure decisions

- Initiating legal action, if required

<< Additional responsibilities based on the business functions of the institutions should be included>>

CMT Recovery Actions

The recovery actions of the Crisis Management Team can be classified into the following different categories:

- Emergency actions to be taken during a disaster.

- Situation assessment during a disaster.

- Activation of disaster recovery plan in the event of a crisis.

- Monitoring of actions during a disaster.

- Completion and finalization of recovery processes.

Based on the initial information obtained about the disaster, CMT would identify whether facilities have been affected or whether there is a risk of damage to premises or danger to employees. Subsequently, CMT would authorize the relevant parts of the CMT recovery actions as per the type and intensity of the disaster.

<<The contact details of all the CMT members must be provide in the table in the Appendix section 7.2 >>

- Recovery Team (RT)

<<The Recovery team composition must be defined and should include representatives of the ICT team and third-party service provider>>

The RT members must be aware of the disaster recovery plan put in place for the institution. The CMT members must be able to assist any RT with the implementation of the plan, and therefore their knowledge of the entire plan document is vital, as they play an essential role in the recovery process.

<<The table should be populated with the contact details of all the Recovery team members as per Appendix section 7.3>>

The roles and responsibilities of the RT are as follows:

- Formalizing recovery strategy and operational requirements

- Coordinate recovery of the premises and infrastructure so that normalcy can be restored at an earliest.

- Perform scheduled DR testing to ensure if the process is reliable in case of disaster.

## Call Tree

In the event of a major disruption, it is important that employee or security personnel who detects the incident, informs Management/ any CMT Member who will in turn inform other members. The call tree provided below guides the communicators and helps ensure that all critical members from DRTF are informed about the event.

<< The title and names of nominated persons should be provided in the above call tree>>

## Disaster Recovery

## Activity flow in case of disaster

<<Include the name of the public institution >> shall include an activity flow to follow in the event of a disaster. An illustrative example has been provided in the diagram below.

## Communication Plan

## Declaration of disaster

CMT Head will be responsible to declare the disaster and the level of disaster. Based on the intensity of an event, the initial report of the Crisis Management Team (CMT) and the expected time to recover normal operations, the CMT Coordinator will meet, analyze facts, intensity of the event and CMT Head will declare a disaster.

A preliminary announcement is used to communicate, responsively and accurately, to the following key departmental Heads / Managers at various units of the institution, immediately following the disruption;

<<Include a list of all the units of the institution>>

Details such as nature of the DR event, services affected, steps taken to restore services, expected downtime etc. will be communicated.

When declaring a disaster, care must be taken not to disclose unnecessary critical or sensitive information to the public. A sample disaster declaration is shown below;

<<“…A <fire, power outage, etc.> has temporarily disrupted operations at the Data Center <mention the location/site>. The Data Center building has experienced some damage. Officials of the <<include the name of the institution>> are evaluating the extent of the damage and probable cause.  The Disaster Recovery Plan has been activated and is progressing according to schedule.  Additional information will be provided when details are available….”>>

If it is immediately known that employees or vendor employees have been injured, this should be included in the preliminary announcement to the media.  This announcement should have a classifying statement that, "The exact extent of the injuries and the names of the employees injured are unknown at this time."  Any announcement to the media should also contain the name and telephone number of the Public Relations Officer who is available to answer any questions that media may have.

Notes for the Public Relations Officer

- Never accept a cold call from a reporter: Instead, get their name, organization, subject of the interview and the reporter’s deadline and advise that you will call them back

- Do not volunteer negative information

## Media management plan

Apart from authorized spokesperson <<e.g. Public Relation Officer>> (Accounting Officer) of the institution, no other person should speak to the press in the event of a disaster.

Depending upon the media's responsiveness and in anticipation of their usual quick response, the CMT Head is responsible to inform the department of Media Relations of all happenings during a disaster. This would help the spokesperson to effectively manage the media. The spokesperson interfaces with the media, employees and public for release of official statements concerning the contingency and the ability of the organization to continue operations. This person serves as the only authorized source for publicity and press releases. During the state of chaos immediately following a disaster.

It is crucial that all questions and comments be coordinated through this spokesperson for consistency and clarity purposes.

## Important instructions

First Point of Contact

If any employee or vendor suspects that there is a potential or actual disaster in progress, he/ she needs to first inform one of the following and subsequently the respective team lead.

| Name | Department Office | Email Address Residence | Contact Numbers Mobile |
| --- | --- | --- | --- |

<<Complete the above table with the names of the identified first point of contact>>

Event Reporting

Report the following information to Physical security / CMT / Administration team,

- Your name

- Description of the event

- Preliminary information of damages and injuries if any

- Any information regarding attempted or actual contacts with CMT members, other employees, fire brigade, police etc.

- Extension/Mobile number and location where you can be reached

<<Complete the table below with the details of the emergency contact services>>

Emergency Service Listing

| Service | Contacts Details | Contact Numbers |
| --- | --- | --- |
| Police Stations |  |  |
| Ambulance |  |  |
| Fire Services |  |  |

## Procedure for damage assessment and salvage

If a detailed damage assessment and salvage operation is required, the procedure is as follows:

- Make a detailed assessment of the damage and list down the assets with a unique control number (salvage number). The sheet should also contain the location and work area where the asset was placed along with quantity and if possible, the asset number from asset list.

- Search the site systematically. Fill in a Damage Assessment Sheet as shown in Appendix 6.4 for each Business Unit / Rack etc.  All items must be logged on the sheets, filling in as many of the entries in each row as possible.  For example, try to obtain and record model number, serial number and asset number.  These details will be required for identification and insurance purposes.

- Incomplete details can be input later by reference to the off-site asset register.

- The Sheet comprises a number of columns which must be completed as follows:

- Salvage Control No. - a sequential identifier for each salvaged item.

- Location/Work Area should contain the location/work area - it must be possible to cross-reference this to the site plan.

- Quantity - self-explanatory.

- Item Type e.g. Server hardware, network switch etc.

- Model and Serial No. - Self-explanatory.

- Asset Reference Number should correspond to the central asset register.

- Condition should indicate whether the item is recoverable, a total loss or status unknown - tick the relevant column.

- Destination should contain the destination of the item when or if it is removed from the Disaster Site, e.g. Salvage Company or alternative site(s).

- Remove Sheet Ref. should contain the reference of the corresponding Asset Removal Form.

- Comments should contain any additional information, as appropriate.

- Employ other team members away from the affected site, matching the tabulated items in the Sheets to the Assets Inventory, ticking them off on the Register, and completing any details missing from the Sheets.

- An Asset Removal Form as shown in Appendix 6.5 must be filled in for any item removed from the Primary Site after approval received from the Crisis Management Team (CMT) coordinator. The 'Released by:’ 'Transport by:' and 'Received by:' entries must be signed off.

- Note: The completed Damage Assessment sheets, Asset Removal Forms and Recovery Test Reports must be securely stored; they are vital documents for recovery management and insurance purposes.

## Disaster Recovery Scenarios

This section outlines potential disaster scenarios classified by severity levels (I–III), detailing the failure types, causes, pre-event preparedness measures, detection and escalation procedures, recovery actions, responsibilities, and systems/processes affected.

| LEVEL | Description |  |
| --- | --- | --- |
| Level I | Incident confined to one department or a small functional unit; services may be degraded but not completely unavailable. |  |
| Level II | Incident affects multiple departments, sites, systems, or critical shared infrastructure; business operations significantly impacted. |  |
| Level III | Severe events causing total disruption of premises or data centers; require full DR site activation and external coordination. |  |

# Disaster Level I — Failure Impacting Single Department

| Failure Scenario | Possible Root Cause(s) | Pre-Event Preparedness (Existing Controls) | Detection / Escalation | Recovery Actions | Primary Responsibility | Systems / Processes Affected |
| --- | --- | --- | --- | --- | --- | --- |
| Minor network outage | - Faulty network switch; - Wildlife interference; - Loose patching | - Maintain SLA with vendor ensuring resolution within 24 hours; - Keep redundant router/switch; - periodically inspect cabling and WAN components; - Document network diagrams; - Maintain a Service Outage Register; - Ensure CCTV feeds are functional. | - Users unable to access departmental WAN; - ICT notifies vendor immediately; - CMT Coordinator alerted upon confirmation of outage. | - Replace faulty components within SLA; - Validate connectivity; - Update Service Outage Register; - Conduct root cause analysis and document lessons learned. | RT / ICT / Vendor | Departmental LAN, internal systems, email access |
| Hardware malfunction | - Dust accumulation; - Overheating; - Hard-disk or motherboard failure; - OS corruption; mishandling. | - Ensure climate control and dust-free environment; - Perform preventive maintenance; - Run hardware diagnostics; - Maintain spare critical components; - Backup system configurations. | - Device failure or error reported; - ICT conducts diagnostics and logs incident; - Escalate to vendor if under warranty or SLA. | - Replace or repair faulty hardware; - Restore data from latest backup; - Verify operational status and update outage records. | ICT / Vendor / RT | Workstation or local server functions |
| Malware attack | - Opening phishing emails; - Lack of endpoint protection; - Unsafe external media | - Deploy up-to-date antivirus and endpoint protection; - Conduct employee awareness training; Restrict use of personal USB devices; - Monitor network traffic for anomalies. | - Antivirus alert or abnormal system behavior detected; - ICT isolates affected system; - Incident logged and reported to CMT Coordinator. | - Quarantine and clean infected devices; - Recover from secure backup; - Analyze attack vector and patch vulnerabilities; - Reinforce awareness. | ICT / RT | Departmental PCs, shared drives, and application data |

# Disaster Level II — Failure Impacting Multiple Department/Sites

| Failure Scenario | Possible Root Cause(s) | Pre-Event Preparedness (Existing Controls) | Detection / Escalation | Recovery Actions | Primary Responsibility | Systems / Processes Affected |
| --- | --- | --- | --- | --- | --- | --- |
| Hardware failure (server/storage) | - Power outage; cooling system failure; - Manufacturing defect; - Fire suppression malfunction | - Maintain SLA ≤ 6h; - Test power and cooling systems; - Maintain redundant hardware; - Perform regular data backups and recovery drills; - Label and monitor all server components. | - Monitoring alerts trigger failure notification; - ICT informs vendor and CMT Coordinator; - Initiate internal diagnostics. | - Replace/repair hardware within SLA; - Restore services using backups; - Validate system health; Document recovery timeline and lessons learned. | CMT / ICT / Vendor | Enterprise servers, data storage, and hosted applications |
| Major network disruption | - Core switch/router failure; - ISP outage; accidental cable disconnection; - Firewall misconfiguration | - Implement redundant ISP links; - Document WAN topology; - Perform quarterly network resilience testing; - Ensure firewall rules are backed up. | - Network downtime alerts from NMS; - Users report access loss; - ICT escalates to vendor and CMT Coordinator. | - Switch to backup link; - Repair or reconfigure faulty device; - Test connectivity; - Inform users and update outage register. | RT / ICT / Vendor | WAN, VPN, email, and remote access systems |
| Cyber attack / Data loss | - Weak authentication; unpatched systems; - Human error; ransomware; - Database corruption | - Conduct periodic penetration testing; - Enforce MFA and password policies; - Maintain off-site and encrypted backups; - Ensure anti-malware signatures updated daily. | - Unusual access or system alerts detected; - SOC/ICT informs CMT Head; - Incident logged for investigation. | - Isolate compromised systems; - Restore from secure backup; - Perform forensic analysis; - Report incident and implement preventive improvements. | ICT / RT / Vendor | Core databases, applications, and business continuity systems |

# Disaster Level III — Premises Unavailable / Total Service Loss

| Failure Scenario | Possible Root Cause(s) | Pre-Event Preparedness (Existing Controls) | Detection / Escalation | Recovery Actions | Primary Responsibility | Systems / Processes Affected |
| --- | --- | --- | --- | --- | --- | --- |
| Fire outbreak | - Electrical fault; - Negligence; - Equipment Overheating; | - Install gas-based fire extinguishers and smoke detectors; - Maintain fire exits; conduct biannual fire drills; - Train staff on evacuation and extinguisher use; - Restrict access to server rooms. | - Smoke alarm or eyewitness report triggers alert; - RT informs CMT and fire brigade; - Evacuation initiated. | - Evacuate safely; - Cut power supply; - Secure critical backups; - Coordinate with fire authorities; - Assess damage and initiate recovery from DR site once safe. | CMT / RT / Accounts / Facilities | Entire premises, data center, ICT operations |
| Power outage | - Grid failure; - Generator malfunction; - Insufficient fuel supply | - Maintain dual generators and UPS; - Test every month; store adequate diesel; - Separate critical and non-critical loads; - Maintain fuel logs. | - Power loss detected; - ICT/RT initiates generator start; - CMT notified of prolonged outage. | - Activate backup power; - Shut down non-critical equipment; - Restore full power when stable; - Record outage details and test recovery systems. | RT / ICT / Facilities | Entire building and data center electrical systems |
| Building collapse / natural disaster | - Structural weakness; - Earthquake; - Flooding; - Severe storm | - Conduct annual structural integrity audits; - Establish off-site DR facility; - Store backups in cloud; - Conduct staff evacuation drills; - Ensure insurance coverage. | - Alarm or seismic alert; - RT and CMT Head coordinate evacuation and contact civic authorities. | - Evacuate all personnel; - Activate DR site; - Recover data from off-site; - Relocate staff; - Conduct post-incident assessment and update continuity plans. | CMT / RT / Facilities / ICT | All organizational systems and operations |

## Disaster Recovery Plan Testing

The <<institution name>> shall conduct disaster recovery plan (DRP) tests to verify the effectiveness, readiness and reliability of all disaster recovery procedures, systems and supporting resources.

## DRP Testing Frequency

DRP testing shall be performed at least quarterly, or more frequently when major system changes, infrastructure upgrades, or significant business process modifications occur.

## Scope of Testing

DRP tests shall cover critical systems, data restoration processes, communication procedures, recovery time objectives (RTOs), and recovery point objectives (RPOs) to ensure alignment with business continuity requirements.

## Testing Approaches

The << institution name >> shall utilize various testing methods including tabletop exercises, simulation tests, component testing, and full-scale failover tests depending on the risk level and operational impact.

## DRP Test Documentation

All DRP tests shall be fully documented, capturing test objectives, scope, procedures, results, deviations, and recommendations for improvement. Disaster Recovery Test report should be prepared and signed as per sample report Appendix 6.6.

## Issue Resolution

Any gaps, failures, or risks identified during DRP testing shall be formally addressed through corrective actions with defined owners and timelines.

## Continuous Improvement

The Disaster Recovery Plan shall be updated after each test to incorporate lessons learned, reflect organizational changes, and strengthen recovery readiness.

# IMPLEMENTATION, REVIEWS AND ENFORCEMENT

This document will come into operation once tabled and agreed in management meeting, and approved in its first page.

This document is subject to review at least once every three years. Any other minor reviews will be done as per requirement from management.

# RELATED DOCUMENTS

- ICT Policy Ref No: <<insert document title>>

- ICT Strategy Ref No: <<insert document title>>

- ICT Security Policy Ref No: <<insert document title>>

- IT Service Management Procedures Ref No: <<insert document title>>

- Information Security Risk Assessment Ref No: <<insert document title>>

# DOCUMENT CONTROL

| Revision | Name | Comment | Date |
| --- | --- | --- | --- |
| Rev. 1.0 |  | Creation of Document | <insert date> |

----------------------------- Document Control ----------------------------------------------

| vERsion | Name | DOCUMENT NO. | Comment | Date |
| --- | --- | --- | --- | --- |
| Ver. 1.0 | e-GA | eGA/EXT/SAM/004 | Creation of Document | August 2021 |
| Ver. 2.0 | e-GA | eGA/EXT/SAM/004 | Improved the scope section, addition of section 2.1.4 backup strategy and plan, improved section 2.4 Disaster recovery scenario and addition of section 2.5 Disaster Recovery Plan Testing | December 2025 |

# APPENDICES

## Contact Details of Third-party Vendor

| Supplier |  |  |
| --- | --- | --- |
| Address |  |  |
| Primary Contact | Name: |  |
|  | Fax: |  |
|  | Office Tel: |  |
|  | Mobile: |  |
|  | Email: |  |
| Backup Contact | Name: |  |
|  | Fax: |  |
|  | Office Tel: |  |
|  | Mobile: |  |
|  | Email: |  |

<<Include the contact details of all suppliers>>

## Contact Details of CMT

| Crisis Management Team and Contact Details |  |  |  |
| --- | --- | --- | --- |
| Name | Designation | Role | Contact Details |
|  |  | CMT Head |  |
|  |  | CMT Coordinator |  |
|  |  | CMT Member |  |
|  |  | CMT Member |  |
|  |  | CMT Member |  |
|  |  | CMT Member |  |

## Contact Details of RT

| Name | Designation | Role | Contact Numbers |  |
| --- | --- | --- | --- | --- |
|  |  |  | Office | Mobile |
|  |  | RT Head |  |  |
|  |  | RT Member |  |  |
|  |  | RT Member |  |  |

## Sample Asset Removal Form

<<Include the name of the public institution >> Asset Removal Form

Location/Work Area:	________________________________________________

Salvage Control No(s):	________________________________________________

Asset No(s):	________________________________________________

Description:	________________________________________________

Reason for Removal:	________________________________________________

Destination Location:	________________________________________________

Additional Information:	________________________________________________

________________________________________________

________________________________________________

Requested by:_________________	________________________	         ________              
	Name	Signature	Date

Approved by:	__________________	________________________              _______
	Name	Signature	Date

Removal Control No.:	________________________________________________

Released by:	__________________	________________________              _______
	Name	Signature	Date

Transport by:	__________________	________________________	_______
	Name	Signature	Date

Received by:	__________________	________________________	_______
	Name	Signature	Date

Additional Information:	________________________________________________

________________________________________________

________________________________________________

## Sample Damage Assessment Sheet

<<Include the name of the public institution >> Damage assessment Sheet

Salvage Control No.:	________________________________________________

Location/ Work Area:	________________________________________________

Quantity:	________________________________________________

Item Type:	________________________________________________

Model and Serial No:	________________________________________________

Asset Reference Number:	________________________________________________

Condition:	Recoverable	Total Loss	    Unknown

Destination:	________________________________________________

Asset Removal Sheet Ref:	________________________________________________

Prepared by:	__________________	________________________              _______
	Name	Signature	Date

Reviewed by:	__________________	________________________	_______
	Name	Signature	Date

Approved by:	__________________	________________________	_______
	Name	Signature	Date

## Test Result Sample Form

<<INSERT ORGANIZATION’S LOGO & NAME>>

Index 7.8: Test Results Sample Form

Disaster recovery tests

Date: 							Office/Location:

| Data loss and backup recovery |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref. | Task | Result | Performed by | Sign off |
| 1. | How long did the recovery process take? |  |  |  |
| 2. | Where RPO and RTO objectives met? |  |  |  |
| 3. | What unexpected issues hindered the recovery process if any |  |  |  |
| 4. | What improvements could be made to speedup recovery? |  |  |  |

| Failed backups |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref. | Task | Results | Performed by | Sign off |
| 1. | <<outline steps performed in performing backup from the secondary site>> |  |  |  |
| 2. |  |  |  |  |

| Onsite threats and physical dangers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref. | Task | Results | Performed by | Sign off |
| 1. | Test evacuation drills in case of fire |  |  |  |
| 2. | Emergence procedures in case of natural disasters eg. Pandemic disease, earthquakes |  |  |  |
| 3. | Call tree tests |  |  |  |

| Workforce interruptions |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref. | Task | Results | Performed by | Sign off |
| 1. | Testing IT systems & platforms that facilitate remote work |  |  |  |
| 2. | Testing the procedures that will help to maintain critical operations |  |  |  |
| 3. | Testing the business’s ability to relocate operations |  |  |  |

| Utility Outages |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref. | Task | Results | Performed by | Sign off |
| 1. | Assessing whether the outage eg. electric power is localized to the building or widespread. |  |  |  |
| 2. | Communication with the utility provider to report the outage |  |  |  |
| 3. | Inspection of backup power sources, if deployed, to ensure they’re working properly |  |  |  |

| Hardware failure |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref. | Task | Results | Time Frame | Sign off |
| 1. | Does hardware need replacement? |  |  |  |
| 2. | How fast was the new equipment deployed? |  |  |  |
| 3. | Are there vendor relationships that can ensure same-day replacement? |  |  |  |
| 4. | How did efficient was the new deployed equipment? |  |  |  |

| Network interruption outages |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref. | Task | Results | Time Frame | Sign off |
| 1. | Testing for unexpected surges in network traffic |  |  |  |
| 2. | Mock tests that replicate the effects of a crippling network attack |  |  |  |
| 3. | Network health testing that identifies potential problems in specific parts of the network |  |  |  |
| 4. | Readiness tests that ensure that IT teams are able to rapidly respond |  |  |  |